Mass Spectrometric Imaging by MALDI for the Analysis of Proteins and Metabolites in Tissue

Sören-Oliver Deininger1, Michael Becker1, Jens Fuchser1, Shannon Cornett2, Katherine Kellersberger2

1 Bruker Daltonik GmbH, Fahrenheitstr. 4, 28359 Bremen
2 Bruker Daltonics, Billerica MS, USA

Soeren.Deininger@bruker.com

MALDI mass spectrometry allows to directly image intact proteins, peptides, drugs and metabolites from tissue and other surfaces. The main application is the analysis of histological tissue sections. The technique has found particular interest in oncology and pathology research because it has the potential to adress the heterogeneity in tumors. Other interesting applications have been shown in plant metabolism, neurosciences and others.

One important requirement for all tissue based analysis is the corelation with microscopic analysis. This is possible by first measuring the MALDI imaging datasets followed by histological staining and the microsocpic analysis. Modern MALDI imaging software allows to correlate digital microscopic slides with the MALDI imaging information, so that molecular features can be analyzed in the detailed histologcal context. We will shows several examples of this combined information can be helpful.

MALDI imaging is a label-free technique and allows to measure hundreds to thousands compounds simultaneously. It therefore allows to analyze tissue without prior knowledge of what compounds are to be expected and also allows the discovery of new biomarkers. Examples fr this workflow will be shown.

Since many compounds are measured at once, one can interpret each mass spectrum as a mass spectrometric phenotype. This allows computational approaches such as spatial segmentation of thisse data based on spectral similartiy. Using ths approach there is a possibility to map heterogeneity in tissues that look homogenous in the microscopic modality. This opens the possibility to adress the problem of tumor heterogeneity, since a tumor is as aggressive as its most aggressive part, but currently no good methods exists to map moelcular tumor heterogeneity.

In the past, MALDI imaging has been done on conventional MALDI instruments that were not specifically deigned for this application. Recently, dedictaed instruments became available which lift speed of the analysis, throughput, reliability and robustness to new levels. This will open up the route to a more routine use of this technique in the future.